## Sheet1
Republic of the Philippines
Province of South Cotabato
City of Koronadal
OFFICE OF THE CITY ENGINEER
Project |  | CONSTRUCTION OF WELCOME ARCH AT BRGY. PARAISO
Item No. |  | SPL-1
Description |  | Electrical Works
Quantity |  | 1 | Lot
Output Per Hour
A. | Designation |  |  | # of Person | # of Hours | Hourly Rate | Amount
Labor
| Foreman |  |  | 1 | 840 | 60 | 50400
| Skilled Worker |  |  | 3 | 840 | 47.5 | 119700
| Laborer |  |  | 6 | 840 | 40 | 201600
Sub Total for A | [6 empty] | 371700
B. | Name and Capacity |  |  | # of Units | # of Hours | Hourly Rate | Amount
Equipment
| Hand Drill |  |  | 1 | 80 | 37.5 | 3000
| Heat Gun |  |  | 1 | 80 | 37.5 | 3000
| Angle Grinder |  |  | 1 | 80 | 37.5 | 3000
| Cut - off Machine |  |  | 1 | 80 | 37.5 | 3000
| Welding Machine |  |  | 1 | 80 | 62.5 | 5000
| Minor tools ( 10% of Labor ) | [5 empty] | 37170
Sub Total for B | [6 empty] | 54170
C. | Name and Specification |  |  | Units | Quantity | Unit Cost | Amount
Materials
| GI Pipe 2" Schedule 40 |  |  | Pieces | 2 | 2400 | 4800
| Meter box, surface-mount, 1-phase, 100A,NEMA3R, complete w/ base plate |  |  | Pieces | 1 | 1000 | 1000
| RSC Pipe, 3/4" |  |  | Pieces | 1 | 600 | 600
| Entrance Cap 3/4" |  |  | Pieces | 3 | 120 | 360
| Angle Connector 3/4" |  |  | Pieces | 1 | 250 | 250
| Hose Clipe no. 4 |  |  | Pieces | 5 | 25 | 125
| Bolt |  |  | Pieces | 1 | 50 | 50
| Mica tube 1/4" |  |  | Roll | 1 | 1200 | 1200
| Junction box Upvc w/ cover |  |  | Pieces | 50 | 50 | 2500
| Spool Insulator |  |  | Pieces | 5 | 350 | 1750
| Duplex GFCI Outlet Set |  |  | Pieces | 1 | 1500 | 1500
| Main Panel board 1-main, 11-branches |  |  | Pieces | 1 | 2000 | 2000
| 60 AT, Bolt-on, 10 kAic |  |  | Pieces | 1 | 500 | 500
| 20 AT, Bolt-on, 10 kAic |  |  | Pieces | 2 | 500 | 1000
| 15 AT, Bolt-on, 10 kAic |  |  | Pieces | 9 | 500 | 4500
| 5/8" Gnd Rod 10 ft w/ Clamp Cu Plated |  |  | Pieces | 2 | 4000 | 8000
| electrical tape 16m |  |  | Pieces | 15 | 50 | 750
| LED Wall Washer, 50W, RGBW, DMX512, IP65 |  |  | Pieces | 90 | 7500 | 675000
| 2.0mm2 THHN Copper Wire |  |  | Pieces | 900 | 35 | 31500
| PVC / EMT Conduit |  |  | Pieces | 300 | 53 | 15900
| IP65 Junction Boxes |  |  | Pieces | 100 | 60 | 6000
| DMX Controller, ≥512 channels |  |  | Pieces | 1 | 7000 | 7000
| DMX Splitter / Booster |  |  | Pieces | 1 | 5000 | 5000
| DMX Cable XLR-3, 120Ω, outdoor rated |  |  | Pieces | 300 | 250 | 75000
| DMX Terminator XLR-3, 120Ω |  |  | Pieces | 20 | 400 | 8000
| Waterproof Cable Glands |  |  | Pieces | 24 | 50 | 1200
| Stainless Screws & Anchors Grade 304 |  |  | Pieces | 25 | 20 | 500
| Aluminum Glare Shield |  |  | Pieces | 90 | 900 | 81000
| Surge Protector, 220V AC |  |  | Pieces | 1 | 4000 | 4000
| DMX Controller IP66 Box |  |  | Pieces | 1 | 5000 | 5000
| 60A Magnetic Contactor |  |  | Pieces | 1 | 4000 | 4000
| Photocell Sensor |  |  | Pieces | 1 | 600 | 600
| Timer Sensor |  |  | Pieces | 1 | 1500 | 1500
| 14.0mm2 Aluminum Wire |  |  | Pieces | 50 | 70 | 3500
| 14.0mm2 THHN Copper Wire |  |  | Pieces | 12 | 230 | 2760
| 30 W LED outdoor spotlight, IP66 |  |  | Pieces | 8 | 500 | 4000
Sub Total for C | [6 empty] | 962345
D. | Total Direct Cost |  |  |  |  | A+B+C | 1388215
E. | Overhead, Contingencies and Miscellaneous (OCM) |  |  |  |  | 15% of D | 208232.25
F. | Contractor's Profit (CP) |  |  |  |  | 10% of D | 138821.5
G. | Value Added Tax (VAT) |  |  |  |  | 5%*(D+E+F) | 86763.4375
H. | Total Cost |  |  |  |  | (D+E+F+G) | 1822032.1875
I. | Total Unit Cost |  |  |  |  | H/Qty. | 1822032.1875
2 out of 2